## Slide 1: Remote Leaf
Sonu Khandelwal
Technical Marketing Engineer
June 25th 2019
Updated with 4.1.2 content

## Slide 2
`
Architecture Overview
IP Network
Remote Location contains Nexus 9300 connected to IP Network and fully managed by APIC cluster of Main DC
L2 / L3
APIC and Spine Nodes remain at Main DC
ACI Main DC
Remote Location
Hypervisor
vSwitch
Bare
Metal
Local Traffic forwarding between endpoints
No Multicast
HREP for BUM traffic

## Slide 3: Remote Leaf Architecture evolution
`
ACI Main DC
Remote Location 1
Hypervisor
vSwitch
Bare
Metal
IP Network
IP Network
`
Hypervisor
Bare
Metal
vSwitch
Remote Location 2
Traffic between Remote Leaf vPC pairs gets forwarded to Spines in ACI main DC Pod.
Before ACI 4.1.2

## Slide 4: Remote Leaf Architecture evolution
`
ACI Main DC
Remote Location 1
Hypervisor
vSwitch
Bare
Metal
IP Network
IP Network
`
Hypervisor
Bare
Metal
vSwitch
Remote Location 2
Traffic between Remote leaf switches is directly forwarded
ACI 4.1.2

## Slide 5
IP Network
Remote Leaf use-cases
PBR
Bare-Metal
Hypervisor
vSwitch
Satellite Data Center
Extension or Migration of DCs
Disaster recovery *
ACI Main DC
Mini POP locations at Co Lo Facility
Telco 5G distributed DC
Remote Location
*Data plane and control plane independency from main Pod

## Slide 6: RL and Multi-site support
IP Network
EP5
EP1
EP2
EP3
EP4
Eth1/1
Po1
Eth1/1
Po1
Po1
ACI Main DC
Site1
Remote Location-1
Site1
Site2
Remote Location-2
EP6
Po1
Site2
ACI Main DC
Traffic is forwarded through the Spines of the Pod where RL is attached
Supported with 2.1(2) MSO release
* Works with routable TEP address and RL direct only
ACI 4.1.2
Details about routable TEP and RL direct are explained later in this deck

## Slide 7
Hardware and Software Support
Supported Spines
Fixed
N9364C
N9332C
Modular
N9732C-EX
N9736C-FX
N9736Q-FX
Supported Leaf
N93180YC-EX
N93108TC-EX
N93180LC-EX
N93180YC-FX
N93108TC-FX
N9348GC-FXP
N9336C-FX2
N93240YC-FX2
N9358GY-FXP
N93360YC-FX2
N93216TC-FX2
All hardware from -EX onwards is supported
ACI Main DC
Remote Location
Supported from
ACI 3.1.1
*Please read release notes for exact software version for the hardware support.

## Slide 8: End point Connectivity options
vPC
ACI 3.1 Release
Dual attached host with Active/Active links (LACP)
RL should be part of a vPC Domain
ACI 3.2 Release
Dual attached host with Active/Active links (LACP)
Dual attached host with single active uplinks (MAC pinning, Active/Standby teaming, etc.)
Single attached hosts (orphan ports)
RL should be part of a vPC Domain
EP info sync over vPC control Plane
EP info sync over vPC control Plane

## Slide 9
RL to RL Packet Flow for vPC attached host
IP Network
`
ACI Main DC
Remote Location
EP1
EP2
EP3
Po1
Po2
Switches are in vPC domain
EP info Sync over vPC control plane

## Slide 10
IP Network
`
ACI Main DC
Remote Location
EP1
EP2
EP3
Eth1
Switches are in vPC domain
EP info Sync over vPC control plane
RL to RL Packet Flow for non-vPC attached host

## Slide 11: RL IPN requirements

## Slide 12: Network Reachability Requirement for RL
`
IP Network
L2 / L3
Remote Location
Hypervisor
vSwitch
Bare
Metal
ACI Main DC
APIC 1: 10.1.1.1
APIC 2: 10.1.1.2
APIC 3: 10.1.1.3
Pod TEP Pool: 10.1.0.0/16
RL TEP Pool: 10.3.0.0/24
Reachability to APICs infra IP
10.1.1.1, 10.1.1.2, 10.1.1.3
Reachability to TEP pool of Pod that’s associated with RL
10.1.1.0/16
Reachability to RL TEP Pool
10.3.0.0/24
IP Network
Before
ACI 4.1.2

## Slide 13: Routable TEP pool for RL deployment
`
IP Network
L2 / L3
Remote Location
Hypervisor
vSwitch
Bare
Metal
ACI Main DC
APIC 1: 10.1.1.1
APIC 2: 10.1.1.2
APIC 3: 10.1.1.3
TEP Pool: 10.1.0.0/16
RL TEP Pool: 10.3.0.0/24
Reachability to only Routable External TEP pool
ACI 4.1.2
Routable TEP Pool
172.16.1.0/24
Used for all communication between Physical Pod and RL
Need to be routable across backbone from Physical Pod to RL
Pool need to be between /27 to /22 (/24 recommended)
Used to address APICs, Spines and Border Leafs
IP Network
Routable TEP pool is must for RL direct and RL with Multi-site
Strong recommendation to deploy the routable TEP pool for any new deployment, to avoid having to upgrade to use the new functionalities

## Slide 14: Latency & Bandwidth Requirement for RL
IP Network
`
Up to 300msec RTT latency between ACI Main DC and Remote Location
Minimum 100mbps bandwidth in IP Network
Remote Location
ACI Main DC

## Slide 15
IP Network
`
Remote Location
ACI Main DC
Modify the default 9000B MTU value to match the IP Network MTU
ACI Remote Leaf and MTU Different MTU Meanings
1
2
Data Plane MTU: MTU of the traffic generate by endpoints (servers, routers, service nodes, etc.) connected to ACI leaf nodes
  Need to account for 50B of overhead (VXLAN encapsulation) for communication between RL and ACI main DC
Control Plane MTU: for CPU generated traffic like BGP and COOP across sites
  The default value is 9000B, can be tuned to the maximum MTU value supported in the IPN

## Slide 16
`
Remote Location
ACI Main DC
Remote Leaf Discovery
Uplink IP address assignment on Remote Leaves
1. DHCP Discover with uplink interface info
DHCP Relay
Sub-intf with vlan-4
OSPF
Reachability to APIC
2. DHCP Relay
3. DHCP Offer with bootstrap file location
IP Network

## Slide 17
Remote Location
ACI Main DC
Remote Leaf Discovery
Uplink IP address assignment on Remote Leaves
4. DHCP Request
5. DHCP ACK
IP Network

## Slide 18
Remote Location
ACI Main DC
Remote Leaf Discovery
TEP IP Allocation for Remote Leaves
DHCP discover & Self relay for TEP IP
2. DHCP Offer TEP IP
3. DHCP Request
4. DHCP ACK
RL TEP
Anycast TEP for Remote Leaves in vPC
IP Network

## Slide 19: Remote Leaf Topology

## Slide 20: Upstream Router connected to RL
Remote Location
ACI Main DC
IP Network
ip dhcp relay
ipv6 dhcp relay
interface Ethernet1/49
no switchport
mtu 9150
no shutdown
interface Ethernet1/49.4
mtu 9150
encapsulation dot1q 4
ip address 20.1.1.2/24
ip ospf network point-to-point
ip router ospf remote-leaf area 0.0.0.0
ip dhcp relay address 10.1.1.1
ip dhcp relay address 10.1.1.2
ip dhcp relay address 10.1.1.3
no shutdown
router ospf remote-leaf
router-id 1.1.1.1
Configure sub-interface with vlan-4 encap and enable OSPF
Configure DHCP relay towards APIC’s Infra or Routable IP address
Eth1/49
For Your
Reference

## Slide 21: Upstream Router connected to Spines
Remote Location
ACI Main DC
IP Network
interface Ethernet1/49
no switchport
mtu 9150
no shutdown
interface Ethernet1/49.4
mtu 9150
encapsulation dot1q 4
ip address 20.2.1.2/24
ip ospf network point-to-point
ip router ospf remote-leaf area 0.0.0.0
no shutdown
router ospf remote-leaf
router-id 2.2.2.2
Configure sub-interface with vlan-4 encap and enable OSPF
Eth1/49
For Your
Reference

## Slide 22: RL Control & data plane from ACI 4.1.2 and later

## Slide 23: TEP Address for RL
IP Network
`
Remote Location
ACI Main DC
Anycast IP on Spines of ACI Main DC
RL-Ucast-TEP
RL-Mcast-TEP
RL2-DP-TEP
RL1-DP-TEP
Pod TEP Pool: 10.1.0.0/16
RL TEP Pool: 10.3.0.0/24
TEP Address are allocated from RL TEP Pool
Anycast IP
RL-vPC-TEP
RL-Ucast-TEP and RL-Mcast-TEP address are allocated from routable TEP pool of the Pod if routable TEP pool is configured
Routable TEP Pool: 172.16.1.0/24

## Slide 24: EP learning between RL and ACI Main DC
COOP Sessions running with Spines
Endpoint (EP) is learnt on Spine through COOP session
Remote Location
ACI Main DC
EP1
EP2
EP3
IP Network
RL-vPC-TEP
EP1
RL2-DP-TEP
EP2
Anycast IP
RL-vPC-TEP
RL2-DP-TEP
RL1-DP-TEP
RL-Ucast-TEP
EP3
RL-Ucast-TEP

## Slide 25: Local Leaf to Remote Leaf packet walk
IP Network
`
ACI Main DC
Remote Location
EP1
EP2
Spine updates source IP to anycast IP address of Spine
EP3
RL-Ucast-TEP
EP3
RL-Ucast-TEP
EP3
SRC
EP3
DST
EP1
SRC
RL-Ucast-TEP
DST
RL-vPC-TEP
SRC
L4 TEP
DST
Spine-proxy
SRC
EP3
DST
EP1
Anycast IP
RL-vPC-TEP
Anycast IP
RL-Ucast-TEP
1
2
3
5
4
4
L1
L2
L3
L4
L4 TEP
EP3
RL-vPC-TEP
EP1

## Slide 26: Remote Leaf to Local Leaf packet walk
IP Network
`
ACI Main DC
Remote Location
EP3
Replaces destination IP from anycast spine IP to L4 TEP
SRC
RL-vPC-TEP
DST
L4 TEP
SRC
EP1
DST
EP3
RL-Ucast-TEP
EP3
RL-Ucast-TEP
EP3
SRC
RL-vPC-TEP
DST
RL-Ucast-TEP
EP1
EP2
SRC
EP1
DST
EP3
L4 TEP
EP3
RL-vPC-TEP
EP1
RL-vPC-TEP
EP1
Anycast IP
RL-vPC-TEP
Anycast IP
RL-Ucast-TEP
1
2
3
4
5
L1
L2
L3
L4

## Slide 27: VXLAN tunnels between RLs for orphan port
IP Network
`
ACI Main DC
Remote Location
EP3
EP1
EP2
Anycast IP
RL-Ucast-TEP
RL1-DP-TEP
RL2-DP-TEP
VXLAN tunnel is created automatically between RL DP TEP for orphan port on RLs.

## Slide 28: Data plane for Orphan port connected to RL
IP Network
`
ACI Main DC
Remote Location
EP3
EP1
EP2
Anycast IP
RL-Ucast-TEP
RL1-DP-TEP
RL2-DP-TEP
Po1
EP1
Eth1/1
EP2
Po1
EP1
RL2-DP-TEP
EP2
Po1
Po1
Eth1/1

## Slide 29: RL to RL direct traffic forwarding

## Slide 30: EP DB on RL for direct forwarding
IP Network
ACI Main DC
Remote Location-1
When an EP is discovered in fabric , COOP DB is updated on the Spines.
RL builds a SW DB from the COOP DB for all the EPs within ACI site based on VRFs deployed on RL.
RL updates the HW EPM DB from the SW DB based on the communication.
When RL needs to send packets, it will check the EP information in HW EPM DB and forward the packet.
If information is not available in HW EPM DB, then it checks SW DB and update EP information in HW EPM DB.
If destination of the packet is not present in SW DB as well, RL will initiate glean for resolve all silent host connected to all RLs and main DC in the site.
Once EP is discovered, COOP will be updated and information will be synced to all RL location.
HW EPM DB
Remote Location-2
SW DB
EP1, EP2, EP3
HW EPM DB
EP3,VRF1
EP2,VRF1
EP1,VRF1
SW DB
EP1, EP2, EP3
ACI 4.1.2

## Slide 31: Traffic between RL pairs within Pod
IP Network
ACI Main DC
Pod1
Remote Location-1
Pod1
Pod1
Remote Location-2
EP5
EP1
EP2
EP3
EP4
RL-Ucast-TEP
Eth1/1
Po1
Eth1/1
Po1
Po1
RL-Ucast-TEP
Traffic is directly forwarded across RLs in same Pod
ACI 4.1.2
RL4-DP-TEP
RL3-DP-TEP
RL2-DP-TEP
RL1-DP-TEP
Anycast IP
RL34-vPC-TEP
Anycast IP
RL12-vPC-TEP

## Slide 32: VXLAN tunnels between RL pairs within Pod
IP Network
ACI Main DC
Pod1
Remote Location-1
Pod1
Pod1
Remote Location-2
EP5
RL4-DP-TEP
EP1
EP2
EP3
EP4
RL-Ucast-TEP
Eth1/1
Po1
Eth1/1
Po1
Po1
RL-Ucast-TEP
RL3-DP-TEP
Anycast IP
RL34-vPC-TEP
RL pairs will have following types of tunnels between each other
  Dataplane TEP of each RL
  Anycast vPC TEP
VXLAN Tunnels are dynamically created either based on communication between RL pairs or based on same BD deployed on RL pairs
VXLAN tunnels between RL pairs
Anycast IP
RL12-vPC-TEP
RL2-DP-TEP
RL1-DP-TEP
ACI 4.1.2

## Slide 33: Data plane between RL pairs within Pod
IP Network
EP5
Anycast IP
RL12-vPC-TEP
RL1-DP-TEP
RL2-DP-TEP
RL4-DP-TEP
EP1
EP2
EP3
EP4
RL-Ucast-TEP
Eth1/1
Po1
Eth1/1
Po1
Po1
RL-Ucast-TEP
RL3-DP-TEP
Anycast IP
RL34-vPC-TEP
RL1-DP-TEP
EP1
RL12-vPC-TEP
EP2
RL1-DP-TEP
EP1
RL12-vPC-TEP
EP2
RL3-DP-TEP
EP3
RL34-vPC-TEP
EP4
RL3-DP-TEP
EP3
RL34-vPC-TEP
EP4
ACI Main DC
Pod1
Remote Location-1
Pod1
Pod1
Remote Location-2
ACI 4.1.2

## Slide 34: Traffic between RL pairs across Pod
IP Network
EP5
EP1
EP2
EP3
EP4
POD1-RL-Ucast-TEP
Eth1/1
Po1
Eth1/1
Po1
Po1
POD1-RL-Ucast-TEP
ACI Main DC
Pod1
Remote Location-1
Pod1
Pod2
Remote Location-2
EP6
POD2-RL-Ucast-TEP
Po1
POD2-RL-Ucast-TEP
Pod2
ACI Main DC
Traffic is directly forwarded between RL across Pods
ACI 4.1.2

## Slide 35: VXLAN tunnels between RL pairs across Pod
IP Network
EP5
Anycast IP
RL12-vPC-TEP
RL1-DP-TEP
RL2-DP-TEP
RL4-DP-TEP
EP1
EP2
EP3
EP4
POD1-RL-Ucast-TEP
Eth1/1
Po1
Eth1/1
Po1
Po1
POD1-RL-Ucast-TEP
Anycast IP
RL34-vPC-TEP
ACI Main DC
Pod1
Remote Location-1
Pod1
Pod2
Remote Location-2
EP6
POD2-RL-Ucast-TEP
Po1
POD2-RL-Ucast-TEP
Pod2
ACI Main DC
RL3-DP-TEP
ACI 4.1.2
RL pairs will have following types of tunnels between each other
  Dataplane TEP of each RL
  Anycast vPC TEP
VXLAN Tunnels are dynamically created either based on communication between RL pairs or based on same BD deployed on RL pairs

## Slide 36: Data plane between RL pairs across Pod
IP Network
EP5
Anycast IP
RL12-vPC-TEP
RL1-DP-TEP
RL2-DP-TEP
RL4-DP-TEP
EP1
EP2
EP3
EP4
POD1-RL-Ucast-TEP
Eth1/1
Po1
Eth1/1
Po1
Po1
POD1-RL-Ucast-TEP
Anycast IP
RL34-vPC-TEP
ACI Main DC
Pod1
Remote Location-1
Pod1
Pod2
Remote Location-2
EP6
POD2-RL-Ucast-TEP
Po1
POD2-RL-Ucast-TEP
Pod2
ACI Main DC
RL3-DP-TEP
RL1-DP-TEP
EP1
RL12-vPC-TEP
EP2
RL1-DP-TEP
EP1
RL12-vPC-TEP
EP2
RL3-DP-TEP
EP3
RL34-vPC-TEP
EP4
RL3-DP-TEP
EP3
RL34-vPC-TEP
EP4
ACI 4.1.2

## Slide 37: Traffic between RL to Local Leaf across Pod
IP Network
EP5
EP1
EP2
EP3
EP4
Eth1/1
Po1
Eth1/1
Po1
Po1
ACI Main DC
Pod1
Remote Location-1
Pod1
Pod2
Remote Location-2
EP6
Po1
Pod2
ACI Main DC
Traffic is directly forwarded between RL and Local leaf across Pods
ACI 4.1.2

## Slide 38: VXLAN tunnels between RL and Spine across Pod
IP Network
EP5
Anycast IP
RL12-vPC-TEP
RL1-DP-TEP
RL2-DP-TEP
RL4-DP-TEP
EP1
EP2
EP3
EP4
POD1-RL-Ucast-TEP
Eth1/1
Po1
Eth1/1
Po1
Po1
POD1-RL-Ucast-TEP
Anycast IP
RL34-vPC-TEP
ACI Main DC
Pod1
Remote Location-1
Pod1
Pod2
Remote Location-2
EP6
POD2-RL-Ucast-TEP
Po1
POD2-RL-Ucast-TEP
Pod2
ACI Main DC
RL3-DP-TEP
VXLAN tunnels between RL and spine across Pods
ACI 4.1.2
RL and Spine across Pods will have following types of tunnels between each other
Dataplane TEP of each RL
Anycast vPC TEP
VXLAN Tunnels are dynamically created either based on communication between ACI Main DC Pod and RL or based on same BD deployed between ACI Main DC Pod and RL
Tunnels are shown only with one spine, but it will be formed with all spines

## Slide 39: Data plane between RL and Local Leaf across Pod
IP Network
EP5
Anycast IP
RL12-vPC-TEP
RL1-DP-TEP
RL2-DP-TEP
RL4-DP-TEP
EP1
EP2
EP3
EP4
POD1-RL-Ucast-TEP
Eth1/1
Po1
Eth1/1
Po1
Po1
POD1-RL-Ucast-TEP
Anycast IP
RL34-vPC-TEP
ACI Main DC
Pod1
Remote Location-1
Pod1
Pod2
Remote Location-2
EP6
POD2-RL-Ucast-TEP
Po1
POD2-RL-Ucast-TEP
Pod2
ACI Main DC
RL3-DP-TEP
POD1-RL-Ucast-TEP
EP5
RL1-DP-TEP
EP1
RL12-vPC-TEP
EP2
ACI 4.1.2
POD2-RL-Ucast-TEP
EP6
POD1-RL-Ucast-TEP
EP5
POD2-RL-Ucast-TEP
EP6
POD1-RL-Ucast-TEP
EP5
POD2-RL-Ucast-TEP
EP6
POD1-RL-Ucast-TEP
EP5
POD2-RL-Ucast-TEP
EP6
RL3-DP-TEP
EP3
RL34-vPC-TEP
EP4
RL1-DP-TEP
EP1
RL12-vPC-TEP
EP2
RL3-DP-TEP
EP3
RL34-vPC-TEP
EP4

## Slide 40: Multi-Pod and Remote Leaf without RL direct
EP2
IP Network
ACI Main DC
POD1
ACI Main DC
POD2
Remote Location
POD1
vlan-5 sub-interface on Spine &
Separate VRF on IP Network Router for this sub-interface
vlan-5 sub-interface on Spine &
Separate VRF on IP Network Router for this sub-interface
Separate VRF for vlan-5 sub-interface
Separate sub-interface and VRF is created to make sure both multicast and unicast traffic takes same path and goes through Spines of the Pod where RL is attached to.
Before 4.1.2
RL is supported with Multi-pod since ACI 3.1(1).

## Slide 41: Multi-Pod and Remote Leaf with RL direct
EP2
IP Network
ACI Main DC
POD1
ACI Main DC
POD2
Remote Location
POD1
No extra VRF and sub-interface is required
ACI 4.1.2

## Slide 42: Traffic between RL pairs across sites
IP Network
EP5
EP1
EP2
EP3
EP4
Eth1/1
Po1
Eth1/1
Po1
Po1
ACI Main DC
Site1
Remote Location-1
Site1
Site2
Remote Location-2
EP6
Po1
Site2
ACI Main DC
Traffic is forwarded through the Spines of the Pod where RL is attached
ACI 4.1.2

## Slide 43: VXLAN tunnels from RL to ACI main DC with Multi-site
IP Network
EP5
EP1
EP2
EP3
EP4
Eth1/1
Po1
Eth1/1
Po1
Po1
ACI Main DC
Site1
Remote Location-1
Site1
Site2
Remote Location-2
EP6
Po1
Site2
ACI Main DC
Site1-DCI-Ucast-TEP
Site1-DCI-Ucast-TEP
Anycast IP
RL12-vPC-TEP
RL1-DP-TEP
RL2-DP-TEP
Site2-DCI-Ucast-TEP
Site2-DCI-Ucast-TEP
VLAN Tunnel between Spine and RL is formed with Anycast IP used for ACI multi-site
RL4-DP-TEP
RL3-DP-TEP
Anycast IP
RL34-vPC-TEP
ACI 4.1.2
Tunnels are shown only with one spine, but it will be formed with all spines

## Slide 44: Data plane between RL Pairs across Sites
IP Network
EP5
EP1
EP2
EP3
EP4
Eth1/1
Po1
Eth1/1
Po1
Po1
ACI Main DC
Site1
Remote Location-1
Site1
Site2
Remote Location-2
EP6
Po1
Site2
ACI Main DC
Site1-DCI-Ucast-TEP
Site1-DCI-Ucast-TEP
Anycast IP
RL12-vPC-TEP
RL1-DP-TEP
RL2-DP-TEP
Site2-DCI-Ucast-TEP
Site2-DCI-Ucast-TEP
RL4-DP-TEP
RL3-DP-TEP
Anycast IP
RL34-vPC-TEP
Site2-DCI-Ucast-TEP
EP1
Site2-DCI-Ucast-TEP
EP2
Site2-DCI-Ucast-TEP
EP1
Site2-DCI-Ucast-TEP
EP2
Site1-DCI-Ucast-TEP
EP3
EP4
Site1-DCI-Ucast-TEP
Site1-DCI-Ucast-TEP
EP3
EP4
Site1-DCI-Ucast-TEP
RL1-DP-TEP
EP1
RL12-vPC-TEP
EP2
Site2-DCI-Ucast-TEP
EP3
Site2-DCI-Ucast-TEP
EP4
Site1-DCI-Ucast-TEP
EP1
Site1-DCI-Ucast-TEP
EP2
RL3-DP-TEP
EP3
RL34-vPC-TEP
EP4
ACI 4.1.2

## Slide 45: ACI Policy Extension to Remote Leaf

## Slide 46: Stretched EPG between ACI Main DC and RL
VM at RL
VM at ACI Main DC
Same VMM domain across RL and ACI Main DC

## Slide 47: VM Mobility between ACI Main DC and RL
IP Network
`
Remote Location
ACI Main DC
Vlan 100
GW:100.1.1.1
ACI Policies
Vlan 100
GW:100.1.1.1
ACI Policies
Vlan 100
GW:100.1.1.1
ACI Policies

## Slide 48: VM Mobility between ACI Main DC and RL
IP Network
EP5
EP1
EP2
EP3
EP4
Eth1/1
Po1
Eth1/1
Po1
Po1
ACI Main DC
Pod1
Remote Location-1
Pod1
Pod2
Remote Location-2
EP6
Po1
Pod2
ACI Main DC

## Slide 49: External Connectivity from Remote Leaf

## Slide 50: External connectivity through Local L3outs
IP Network
`
ACI Main DC
Remote Location
WAN
BGP RR
RL L3out
Local-Pod-L3out
EP1
100.1.1.1
EP2
100.1.1.2
External Client
20.20.20.1
Control Plane
20.20.20.0/24
Remote Leaf Table
Local L3Out
20.20.20.0/24
Local Leaf Table
BL1, BL2 TEPs
20.20.20.0/24
MP-BGP VPNv4 session between RL and RRs on Spines
RL1-DP-TEP
IS-IS metric to BL1, BL2 is preferred v/s RL1, RL2 TEPs
BL1 TEP
BL2 TEP
RL2-DP-TEP
Intra-BGP VPNv4 Session

## Slide 51: External connectivity through Local L3outs
IP Network
`
ACI Main DC
Remote Location
WAN
BGP RR
RL L3out
Local-Pod-L3out
EP1
100.1.1.1
EP2
100.1.1.2
Dataplane
20.20.20.0/24
Remote Leaf Table
Local L3Out
20.20.20.0/24
Local Leaf Table
BL1, BL2 TEPs
20.20.20.0/24
Endpoints use the local L3out for outbound traffic
Endpoints use the local L3out for outbound traffic
External Client
20.20.20.1

## Slide 52: External connectivity through Local L3outs
Local L3out failure at RL
IP Network
`
ACI Main DC
WAN
BGP RR
RL L3out
Local-Pod-L3out
EP1
100.1.1.1
EP2
100.1.1.2
20.20.20.0/24
Remote Leaf Table
BL1, BL2 TEPs
20.20.20.0/24
Local Leaf Table
BL1, BL2 TEPs
20.20.20.0/24
Endpoints use the local L3out for outbound traffic
X
External Client
20.20.20.1

## Slide 53: External connectivity through Local L3outs
Local L3out failure at ACI Main DC
IP Network
`
ACI Main DC
WAN
BGP RR
RL L3out
Local-Pod-L3out
EP1
100.1.1.1
EP2
100.1.1.2
20.20.20.0/24
RL Table
Local L3Out
20.20.20.0/24
Local Leaf Table
RL1, RL2 DP-TEP
20.20.20.0/24
X
Endpoints use the local L3out for outbound traffic
External Client
20.20.20.1

## Slide 54: Possible asymmetry of traffic with Local L3outs
Stretched BD & EPG across ACI Main DC and Remote Location
IP Network
`
ACI Main DC
Remote Location
BGP RR
RL L3out
Local-Pod-L3out
EP1
100.1.1.1
EP2
100.1.1.2
100.1.1.0/24
100.1.1.0/24
Subnet route advertisement from BL
Subnet route advertisement from RL
WAN
20.20.20.0/24
External Client
20.20.20.1

## Slide 55: Host route advertisement from BL
Ingress path optimization
IP Network
`
ACI Main DC
Remote Location
BGP RR
RL L3out
Local-Pod-L3out
EP1
100.1.1.1
EP2
100.1.1.2
100.1.1.1/32
100.1.1.2/32
Host route advertisement from BL
Host route advertisement from RL
WAN
20.20.20.0/24
External Client
20.20.20.1
ACI 4.0.1

## Slide 56: Host route advertisement from BL
Advertise Subnet route from ACI Main DC, and Host route from RL to ensure RL specific EPs traffic comes to RL, and by default traffic comes to main DC.
IP Network
`
ACI Main DC
Remote Location
BGP RR
RL L3out
Local-Pod-L3out
EP1
100.1.1.1
EP2
100.1.1.2
100.1.1.1/32
100.1.1.0/24
Subnet route advertisement from BL
Host route advertisement from RL
WAN
20.20.20.0/24
External Client
20.20.20.1
ACI 4.0.1

## Slide 57: L3out over routed interface/sub-interface on RL
IP Network
`
ACI Main DC
WAN
BGP RR
RL L3out
Local-Pod-L3out
EP1
EP2
100.1.1.2
20.20.20.0/24
RL2 Local Table
101.1.1.2
20.20.20.0/24
Local Leaf Table
RL1, RL2 DP-TEP
20.20.20.0/24
100.1.1.2
101.1.1.2
20.20.20.0/24
RL1 Local Table
100.1.1.1
RL1
RL2
External Client
20.20.20.1

## Slide 58: L3out over routed interface/sub-interface on RL
Local L3out reachability failure at ACI Main DC
IP Network
`
ACI Main DC
WAN
BGP RR
RL L3out
Local-Pod-L3out
EP1
EP2
100.1.1.2
20.20.20.0/24
Local Leaf Table
RL1, RL2 DP-TEP
20.20.20.0/24
100.1.1.2
101.1.1.2
RL1
RL2
X
20.20.20.0/24
RL2 Local Table
101.1.1.2
20.20.20.0/24
RL1 Local Table
RL2- DP-TEP
External prefix is learnt on RL1 through MP-BGP VPNv4 session
External Client
20.20.20.1

## Slide 59: L3out over routed interface/sub-interface on RL
Local L3out and Spine/IPN reachability failure at ACI Main DC
IP Network
`
ACI Main DC
WAN
BGP RR
RL L3out
Local-Pod-L3out
EP1
EP2
100.1.1.2
20.20.20.0/24
Local Leaf Table
RL1, RL2 DP-TEP
20.20.20.0/24
100.1.1.2
101.1.1.2
RL1
RL2
X
20.20.20.0/24
RL2 Local Table
101.1.1.2
20.20.20.0/24
RL1 Local Table
RL2- DP-TEP
Since BGP session with Spine is down, RL1 won’t be able to learn external prefix from RL
X
X
Recommendation to use L3out over vPC on RL to avoid this scenario
External Client
20.20.20.1
X
X

## Slide 60: Migration/coexistence of a legacy DC network using Remote Leaf

## Slide 61: L2 Domain connected to Remote Leaves
IP Network
`
Remote Location
Existing DC
ACI Main DC
Migration/coexistence of a legacy DC network with a greenfield ACI fabric
L2
Simplest form of DCI for migration
Workload migration using VLAN extension between DCs
Same technology for DC and DCI
Consistent distributed GW on ACI leaf
Consistent policy

## Slide 62: VLAN extension from existing DC to ACI Main DC
IP Network
`
ACI Main DC
VLAN 100 in legacy environment
EPG with vlan encap 100
BD with GW IP of SVI 100
Add ports connected to existing switches statically into EPG
EPG with vlan encap 100
BD with GW IP of SVI 100
Remote Location
Existing DC
Same VLAN ID is not necessary, it’s a good operational practice, but ACI would give you VLAN translation if required

## Slide 63: Considerations
IP Network
`
ACI Main DC
VLAN extension across DC
Remote Location
Existing DC
No spanning tree extension across DCs
Spanning tree root should be outside of ACI
No BPDU transmission across DCs
Ensure there is no backdoor L2 path between DCs

## Slide 64: Failure handling

## Slide 65: APIC controller failure
No data traffic loss
SRC
DST
IP Network
`
Remote Location
ACI Main DC
EP1
EP2
EP3
Po1
Po2
X
RL L3out

## Slide 66: No Reachability between RL and Spine
Traffic between EPs connected to RLs is not impacted
SRC
DST
IP Network
`
Remote Location
ACI Main DC
EP1
EP2
EP3
Po1
Po2
X
X
X
RL L3out
New EPs at RL can be learnt after all spine failure. New process tglean can initiate EP discovery for hosts connected to RL.
ACI 4.0.1

## Slide 67: All Spine failure in a Pod
IP Network
IP Network
IP Network
ACI Main DC
Pod1
ACI Main DC
Pod2
Remote Location-2
Pod2
Remote Location-1
Pod2
Remote Location
Pod1
Remote Location-2
Pod1
All traffic from RL to other Pods and RL within and across Pod will continue to work. Traffic will flowing through alternate available Pod.
All Pods are part of the same ACI Fabric (APIC Domain)
ACI 4.2
X
X

## Slide 68: COOP session to alternate Pod after failure
IP Network
IP Network
IP Network
ACI Main DC
Pod1
ACI Main DC
Pod2
Remote Location-2
Pod2
Remote Location-1
Pod2
Remote Location
Pod1
Remote Location-2
Pod1
All Pods are part of the same ACI Fabric (APIC Domain)
RL to Spine COOP session before failure
RL to Spine COOP session after failure
X
X
RL will form COOP connection to alternate Pod after Spine failure. This is used to sync EP information on RL.
ACI 4.2

## Slide 69: BGP session across Pods
IP Network
IP Network
IP Network
ACI Main DC
Pod1
ACI Main DC
Pod2
Remote Location-2
Pod2
Remote Location-1
Pod2
Remote Location
Pod1
Remote Location-2
Pod1
All Pods are part of the same ACI Fabric (APIC Domain)
External RR
X
X
User configures a spine from each Pod as external RR. RL forms BGP relation with the spine designated as external RR to avoid full mesh connection and improve scalability without compromising on resiliency.
External RR
BGP relation to only external RR
ACI 4.2

## Slide 70: All Spine failure with ACI Multi-Site
IP Network
IP Network
IP Network
EP3
ACI Main DC
Site1 (Pod1)
ACI Main DC
Site2
Remote Location
Site1
Remote Location-2
Site2
Remote Location-1
Site2
ACI Main DC
Site1 (Pod2)
X
X
ACI 4.2
All traffic from RL to other Pods and sites will continue to work. Traffic is flowing through alternate available Pod.

## Slide 71: All Spine failure with single Pod Solution
IP Network
ACI Main DC
Pod1
Remote Location
Pod1
Remote Location
Pod1
Local traffic within Remote location will continue to work for existing and new EPs
Existing learnt EP to EP communication will work fine between RL pairs
Existing learnt remote EP may timeout if there is no communication and this may break communications to those remote EPs. New EP information across two RL pairs can’t be synced since Spine is down.
BGP RR session from RL to Spine will be down, hence RL to RL communication for external prefixes will be down
Inter-VRF communication will fail since EP of different VRF are learnt through COOP and COOP connection to Spine is down
Customers who needs full HA for spine failures should use ACI Multi-Pod architecture
X
X
ACI 4.1.2
X

## Slide 72: Best Practice, Considerations & Recommendations for Remote Leaf deployment

## Slide 73: Remote Leaf with 1/10G connectivity to WAN
IP Network
`
ACI Main DC
Remote Location
EP1
EP2
EP3
QSA to connect 1G/10G SFP to WAN Router

## Slide 74: Mix of Different Generation Spine in Main DC
IP Network
`
EP2
Only Remote leaf capable Spine are connected to IP Network
First Gen Spine connects to fabric
Remote Location
ACI Main DC
EX/FX
EX/FX

## Slide 75: QOS Recommendation
IP Network
`
Remote Location
ACI Main DC
Recommendation is to configure cos-to-dscp mapping on Spine. This allows customers to map QOS levels in ACI based on DSCP values of IPN and vice-versa.
Cos values can change within IPN, but DSCP values should remain same on Spine and RL with this setting enabled.

## Slide 76: QOS Recommendation
 | Recommendation
Switch Control plane | Prioritize in IPN
APIC policy plane | Prioritize in IPN
Traceroute | Prioritize in IPN
SPAN | De-prioritize in IPN
IP Network
`
Remote Location
ACI Main DC

## Slide 77: BD stretch with RL in different ACI sites
WAN
IP Network
IP Network
IP Network
EP2, BD1
ACI Main DC
Site1
ACI Main DC
Site2
Remote Location-2
Site2
EP1, BD1
Remote Location
Site1
Not supported
EP3, BD1
BD configured on RL can’t be stretched to other sites on local or remote leaf

## Slide 78: Inter-site L3out with ACI Multi-Site
WAN
IP Network
IP Network
IP Network
ACI Main DC
Site1
ACI Main DC
Site2
Remote Location
Site1
Remote Location-2
Site2
ACI 4.2
L3out
L3out
Endpoint (EPG) from ACI site1 is using L3out of ACI site2

## Slide 79: Inter-site L3out with ACI Multi-Site and RL
WAN
IP Network
IP Network
IP Network
ACI Main DC
Site1
ACI Main DC
Site2
Remote Location
Site1
Remote Location-2
Site2
Not supported
L3out
L3out
Endpoint (EPG) of RL from ACI site1 is using L3out of ACI site2

## Slide 80: Multi-site without IPN and RL
WAN
IP Network
IP Network
ACI Main DC
Site1 (Pod1)
ACI Main DC
Site2
Remote Location
Site1 (Pod1)
Remote Location-2
Site2
Not supported

## Slide 81: Stretched L3out SVI on RL
Not supported
L3out SVI can’t be stretched between RL pairs or from RL to ACI main DC
IP Network
ACI Main DC
Remote Location - 1
Remote Location - 2
L3out1
L3out1
SVI-100
SVI-100
SVI-100

## Slide 82: Stretched L3out on RL
Supported
Same L3out can be configured with nodes from ACI main DC and multiple Remote Leaf switches. However same SVI can’t be stretched from RL to main DC or between RL pairs.
IP Network
ACI Main DC
Remote Location - 1
Remote Location - 2
L3out1
L3out1
SVI-100
SVI-101
SVI-102

## Slide 83: Scale
ACI 3.1
ACI 4.2
Roadmap
20 pairs
64 pairs
120 pairs per site
Feature scale is same as Local Leaf
RL nodes are counted toward the max number of leaf nodes supported in a single Pod fabric (200) or Multi-Pod fabric (400)

## Slide 84: Remote Leaf Configuration and Verification
Updated with ACI 4.1.2

## Slide 85: Setting up IPN connectivity

## Slide 86: Configure IPN on the Spine
Recommendation to use Wizard for configuration
This step is required for the first time if IPN is not configured on the Spines

## Slide 87: Configure IPN on the Spine
Configure the Spine interfaces for IPN connectivity

## Slide 88: Configure IPN on the Spine
Configure the OSPF between Spine and IPN

## Slide 89: Configure IPN on the Spine
Configure external TEP pool for Pod
Use default so that Spine’s are automatically configured with Router-id and RL-Ucast-IP from external TEP pool

## Slide 90: Remote Leaf configuration

## Slide 91: Wizard for Remote Leaf Configuration

## Slide 92: Wizard for Remote Leaf Configuration

## Slide 93: Remote Leaf Configuration

## Slide 94: Remote Leaf Configuration

## Slide 95: Remote Leaf Configuration

## Slide 96: Remote Leaf Configuration

## Slide 97: Remote Leaf Verification

## Slide 98: Migration steps from Non-RL direct to RL-Direct

## Slide 99: Migration steps from Non-RL direct to RL-Direct
Upgrade APIC and all Nodes to ACI 4.1.2
Add Routable Subnets and Routable Ucast IP in infra tenant for all the pods in the fabric. Ensure that the IPN and RL location has routes to both routable and non routable subnet [100sec of traffic loss at this stage since tunnels are changing to routable TEP address]

## Slide 100: Migration steps from Non-RL direct to RL-Direct
Enable RemoteLeaf Direct under fabric wide settings. [30msec of traffic loss at this stage since direct tunnels are being formed from RL.
Please note, once customer enables RL direct, It can’t be disabled again

## Slide 101: Migration steps from Non-RL direct to RL-Direct
Below steps can be done at a later time, with following steps RL will build communication channels to APIC using routable IP. Reachability to private TEP pool from RL location can be removed at this stage
Configure APIC's Routable IP as ip dhcp relay on L3 interfaces of IPN connected to the Remote Leafs.
Decommission and Recommission each Remote Leaf to get it discovered on APIC's Routable IP.

## Slide 102: Optimization of traffic forwarding on RL in ACI 4.0

## Slide 103: Inter-VRF traffic before ACI 4.0
IP Network
`
Remote Location
ACI Main DC
EP1
VRF1
EP2
VRF2
EP3
EP1 and EP2 are in different VRF
Traffic forwarding between EP1 and EP2 needs to go to Spine

## Slide 104: Inter-VRF traffic after ACI 4.0
IP Network
`
Remote Location
ACI Main DC
EP1
VRF1
EP2
VRF2
EP3
EP1 and EP2 are in different VRF
Traffic forwarding between EP1 and EP2 is forwarded through upstream router
Behavior is same for both vPC or orphan port.
EP3
VRF2

## Slide 105: ERSPAN traffic before ACI 4.0
IP Network
`
Remote Location
ACI Main DC
EP1
VRF1
EP2
VRF2
EP3
Even though ERSPAN source and destination was local at Remote Leaf, traffic was always going to Spine at ACI main DC.
ERSPAN Destination

## Slide 106: ERSPAN traffic after ACI 4.0
IP Network
`
Remote Location
ACI Main DC
EP1
VRF1
EP2
VRF2
EP3
ERSPAN Destination
ERSPAN destination information is learnt at RL, hence it’s able to forward traffic directly without hair-pinning traffic to Spine.

## Slide 107: ERSPAN traffic after ACI 4.0 with orphan port
IP Network
`
Remote Location
ACI Main DC
EP1
VRF1
EP2
VRF2
EP3
ERSPAN Destination
If ERSPAN destination is connected as orphan port, traffic is sent over upstream router

## Slide 108: PBR traffic forwarding before ACI 4.0
IP Network
`
Remote Location
ACI Main DC
EP1
EP2
EP3
L4-L7
Service Node
EP1
EPG1
EP2
EPG2
Contract
PBR to Service Node at RL
PBR traffic was always sent to Spine even when source EP, destination EP and service node were local at RL.
Service EP information was not learnt at RL

## Slide 109: PBR traffic forwarding after ACI 4.0
IP Network
`
Remote Location
ACI Main DC
EP1
EP2
EP3
L4-L7
Service Node
EP1
EPG1
EP2
EPG2
Contract
PBR to Service Node at RL
Service EP information is learnt at RL, and traffic forwarding is going to be local at RL location.

## Slide 110: PBR traffic forwarding after ACI 4.0 with Orphan port
IP Network
`
Remote Location
ACI Main DC
EP1
EP2
EP3
L4-L7
Service Node
EP1
EPG1
EP2
EPG2
Contract
PBR to Service Node at RL
If the end points and service node is connected using orphan port, traffic to peer RL is sent over upstream router.

## Slide 111: Reduced impact of spine failure by implementing new EP learning at RL when spine is down

## Slide 112: New EP learning during Spine failure before ACI 4.0
IP Network
`
Remote Location
ACI Main DC
EP1
EPG1
BD1
EP2
EPG2
BD2
EP3
Assumption- All the Spines in ACI Main DC is failed, EP2 is a silent host. EP1 and EP2 are in different subnet.
if EP1 needs to talk to EP2, it will send data packet to default GW (RL).
When Spine is up, RL sends data packets to Spine which initiate glean message for discovery of EP2.
but since Spine is down, RL will drop the packet to EP2.
X
X
ARP for EP2
RL will drop the packet

## Slide 113: New EP learning during Spine failure after ACI 4.0
IP Network
`
Remote Location
ACI Main DC
EP1
EPG1
BD1
EP2
EPG2
BD2
EP3
X
X
ARP for EP2
t_glean process at RL will initiate glean for discovery for EP2
Assumption- All the Spines in ACI Main DC is failed, EP2 is a silent host. EP1 and EP2 are in different subnet.
if EP1 needs to talk to EP2, it will send data packet to default GW (RL). RL does not have information about EP2. When Spine is up, RL sends data packets to Spine which initiate glean message for discovery of EP2.
To reduce dependency on the spine for new EP learning. A new process, t_glean is introduced on RL which can initiate glean message when Spine is down. Using this new process EP2 can be discovered when spines are down.
This new learning process will also help when EP1 and EP2 are in same subnet, RL will be able to generate glean message to wake up EP2 when spine is down.

## Slide 114: PBR Tracking on RL

## Slide 115: How PBR tracking works
IP Network
`
Remote Location
ACI Main DC
Local Tracking of FW based on TCP/ICMP probes
Track information (announce packets) is sent to all ToRs using multicast GIPo address
ACI leaf locally tracks the service nodes and provides the reachability information (announce packets) to all leaf using GIPo multicast address.
Based on reachability of the service node, service leaf or source leaf can take action and bypass the service node or drop traffic.
This functionality was delivered in ACI 3.1

## Slide 116: PBR Tracking for RL
`
Remote Location
ACI Main DC
Local Tracking of FW based on TCP/ICMP probes
Track information (announce packets) is sent to all ToRs using multicast GIPo address
PBR tracking at RL is supported from ACI 4.0. Following support is being enabled at RL in ACI 4.0
Service device can be connected at RL. RL can track locally and provide reachability information within RL and ACI main DC through multicast announce packets. HREP tunnels between RL and Spines in main DC is used to forward multicast announce packets.
Consumer and provider EPG that is using PBR track information can be on RL. RL can use multicast probes from ACI main DC and redirect packets accordingly.
IP Network

## Slide 117: What is the change now for PBR tracking and why?
System GIPo for infra needs to be enabled for PBR tracking to be enabled on RL. PBR tracked HREP (announce) packets from RL needs to be replicated at Spine by looking at VNID of the incoming packet from Spine. VNID to multicast packet translation can happen only when Infra GIPo is from system GIPo (225.x.x.x) range. This is due to hardware limitation
This new knob does not impact existing tracking behavior at Local leaf.